| Title | Perform viable microbiological counting methods |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: take samples for microbiological count; and perform viable microbiological counts. |
| --- | --- |

| Classification | Science > Microbiology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

5	Recommended for entry: Unit 8040, Perform aseptic laboratory techniques; and Unit 26117, Work safely in a science laboratory.

Outcomes and performance criteria

Outcome 1

Take samples for microbiological count.

Performance criteria

1.1	Samples are taken and documented in accordance with laboratory procedures.

Range	evidence of two samples is required.

Outcome 2

Perform viable microbiological counts.

Performance criteria

2.1	Counting methods are selected and applied to samples in accordance with laboratory procedures.

Range	pour plate, spread plate, filtration, most probable number.

2.2	Viable counts are calculated and documented in accordance with laboratory procedures.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Revision | 2 | 19 February 1998 | 31 December 2014 |
| Review | 3 | 23 November 1999 | 31 December 2014 |
| Review | 4 | 21 May 2010 | 31 December 2025 |
| Rollover | 5 | 27 January 2015 | 31 December 2025 |
| Review | 6 | 27 September 2018 | 31 December 2025 |
| Review | 7 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.