| Title | Perform aseptic laboratory techniques |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: carry out manipulations without contamination; sterilise laboratory equipment; and prepare and dispense complex sterile media. |
| --- | --- |

| Classification | Science > Microbiology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

5	Recommended for entry: Unit 26117, Work safely in a science laboratory.

Outcomes and performance criteria

Outcome 1

Carry out manipulations without contamination.

Performance criteria

1.1	Work environment is prepared to exclude contaminants in accordance with laboratory procedures.

1.2	Manipulations are carried out without contamination in accordance with laboratory procedures.

Range	manipulations include – plating, filtering, sampling, pipetting.

1.3	Decontamination is carried out in accordance with laboratory procedures.

Outcome 2

Sterilise laboratory equipment.

Performance criteria

2.1	Sterilisation techniques are selected and laboratory equipment is sterilised in accordance with laboratory procedures.

Range	techniques – hot, cold, wet, dry;

equipment – glassware, plasticware, solutions.

Outcome 3

Prepare and dispense complex sterile media.

Range	one medium is required.

Performance criteria

3.1	Medium is prepared in accordance with manufacturers’ instructions or laboratory procedures.

3.2	Medium is dispensed aseptically in accordance with laboratory procedures.

3.3	Sterility of medium is verified in accordance with laboratory procedures.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 September 1996 | 31 December 2014 |
| Review | 2 | 24 February 1998 | 31 December 2014 |
| Review | 3 | 23 November 1999 | 31 December 2014 |
| Review | 4 | 21 May 2010 | 31 December 2025 |
| Rollover | 5 | 27 January 2015 | 31 December 2025 |
| Review | 6 | 27 September 2018 | 31 December 2025 |
| Review | 7 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.