| Title | Perform spectrophotometric analyses |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: describe spectrophotometric techniques; perform spectrophotometric analysis; construct a standard curve for spectrophotometric analysis, and interpret results from a spectrophotometric analysis. |
| --- | --- |

| Classification | Science > Biochemistry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) typically acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	A sample will be provided for the candidate to analyse.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

Outcomes and performance criteria

Outcome 1

Describe spectrophotometric techniques.

Performance criteria

1.1	Spectrophotometry is described in terms of the function of the system and the nature of the sample.

Range	absorption, detection system, transmission, wavelength, light source.

1.2	Spectophotometric data is explained in terms of the sample characteristics.

Range	concentration, kinetics.

Outcome 2

Perform spectrophotometry analysis.

Performance criteria

2.1	Spectrophotometry is carried out in accordance with laboratory procedures.

2.2	Spectrophotometry readings are plotted and the curve is consistent with the sample.

2.3	Absorbance maxima are identified and absorbance co-efficients are calculated consistent with the plotted curve.

Outcome 3

Construct a standard curve for spectrophotometric analysis.

Performance criteria

3.1	Optimal wavelength selected is consistent with the absorbance spectrum of the sample.

3.2	Standard solutions are prepared to cover the concentration range of the unknown in accordance with laboratory procedures.

3.3	Absorbances of blanks and working standards are plotted to establish a standard curve consistent with Beer's Law.

Outcome 4

Interpret results from a spectrophotometric analysis.

Performance criteria

4.1	Unknown is determined consistent with the standard curve and absorbance reading.

4.2	Possible causes of any anomalous results are discussed and related to the technique used.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Review | 2 | 23 November 1999 | 31 December 2014 |
| Review | 3 | 17 September 2010 | 31 December 2025 |
| Rollover | 4 | 27 January 2015 | 31 December 2025 |
| Review | 5 | 27 September 2018 | 31 December 2025 |
| Review | 6 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.