| Title | Perform high pressure liquid chromatography |  |  |
| --- | --- | --- | --- |
| Level | 6 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: explain high pressure liquid chromatographic techniques; and perform an analysis using high pressure liquid chromatography. |
| --- | --- |

| Classification | Science > Biochemistry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

5	Recommended for entry: Unit 26486, Perform paper, thin layer, and column chromatography.

Outcomes and performance criteria

Outcome 1

Explain high pressure liquid chromatographic (HPLC) techniques.

Performance criteria

1.1	An HPLC system is explained in terms of sample separation in accordance with manufacturer’s instructions.

Range	system includes – column, solvent system, detection method.

1.2	Chromotographic data is explained in terms of an HPLC system.

Range	anomalies, peaks, standards.

Outcome 2

Perform an analysis using high pressure liquid chromatography.

Performance criteria

2.1	Solvents and samples are prepared in accordance with laboratory procedures.

2.2	Column and parameters are selected in accordance with laboratory procedures.

2.3	Separation of sample components is achieved to allow sample to be identified.

2.4	Quantitative analyses are performed on the sample in accordance with laboratory procedures.

2.5	Results are recorded and analysed in accordance with laboratory procedures.

2.6	Interpretation is consistent with results and sample.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Review | 2 | 23 November 1999 | 31 December 2014 |
| Review | 3 | 22 September 2004 | 31 December 2014 |
| Review | 4 | 17 September 2010 | 31 December 2025 |
| Rollover | 5 | 27 January 2015 | 31 December 2025 |
| Review | 6 | 27 September 2018 | 31 December 2025 |
| Review | 7 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.