| Title | Perform electrophoresis |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: describe an electrophoretic technique; carry out an electrophoretic technique; and interpret results. |
| --- | --- |

| Classification | Science > Molecular Biology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.  Particular attention should be paid to the special safety requirements relating to: high voltage, current, ethidium bromide, silver nitrate, ultraviolet light, TEMED, acrylamides, ammonium persulphate.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

5	Recommended for entry: Unit 26117, Work safely in a science laboratory.

Outcomes and performance criteria

Outcome 1

Describe an electrophoretic technique.

Range	includes one of – agarose, polyacrylamide, cellulose acetate.

Performance criteria

1.1	A technique is described according to factors affecting the separation of molecules.

Range	medium, buffers, equipment, electric field, cathode, anode, relative mobilities, reference standards, frictional coefficient, electrophoretic mobility, charge, molecular dimensions.

1.2	Detection methods are described according to the molecules separated.

Range	detection methods may include – ethidium bromide, autoradiography, fluorography.

Outcome 2

Carry out an electrophoretic technique.

Range	protein, nucleic acid.

Performance criteria

2.1	Medium, buffers, and reference standards are prepared in accordance with laboratory procedures.

Range	medium preparation includes – mixing, pouring, laying, comb, dam.

2.2	Samples are prepared using the selected technique in accordance with laboratory procedures.

2.3	Detection method is applied in accordance with the technique.

2.4	Separated compounds are visualised in accordance with the technique.

2.5	Separation of sample components is achieved to allow the sample to be identified and/or quantified.

Outcome 3

Interpret results.

Performance criteria

3.1	Results are recorded and analysed in accordance with laboratory procedures.

3.2	Interpretation is consistent with results and sample.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Review | 2 | 23 November 1999 | 31 December 2014 |
| Review | 3 | 17 September 2010 | 31 December 2025 |
| Rollover | 4 | 27 January 2015 | 31 December 2025 |
| Review | 5 | 27 September 2018 | 31 December 2025 |
| Review | 6 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.