| Title | Use and maintain a light microscope |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: describe light microscopes; select, operate, and maintain a microscope; and determine specimen size by measuring under a microscope. |
| --- | --- |

| Classification | Science > Science - Core |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

- Outcome 1

- Describe light microscopes.

- Performance criteria

- 1.1	Light microscopes are described in terms of their limitations and applications.

Range	compound, stereoscopic.

- 1.2	Microscope components are described in terms of their function.

Range	stage, light, eye piece, objective, diaphragm, condenser, coarse adjustment, fine adjustment.

- Outcome 2

- Select, operate, and maintain a microscope.

Range	stereoscopic including zoom, compound.

- Performance criteria

2.1	Selected microscope allows required specimen magnification to be met.

2.2	Microscope is set up to prevent damage to microscope and specimen in accordance with laboratory procedures.

2.3	Components and focus are adjusted for optimum resolution and magnification of specimen.

2.4	Microscope is maintained in a manner that will prevent damage in accordance with manufacturer’s instructions.

Range	cleaning, moving, storing.

- Outcome 3

- Determine specimen size by measuring under a microscope.

- Performance criteria

3.1	Specimen is orientated using stage controls to allow measurements to be taken.

3.2	Record of measurements is consistent with the specimen’s dimensions.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 September 1996 | 31 December 2014 |
| Review | 2 | 24 February 1998 | 31 December 2014 |
| Review | 3 | 23 November 1999 | 31 December 2014 |
| Review | 4 | 17 September 2010 | 31 December 2025 |
| Rollover | 5 | 27 January 2015 | 31 December 2025 |
| Review | 6 | 27 September 2018 | 31 December 2025 |
| Review | 7 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.