| Title | Comply with quality management procedures in an accredited laboratory |  |  |
| --- | --- | --- | --- |
| Level | 6 | Credits | 10 |

| Purpose | This unit standard is intended for laboratory technicians working in an accredited laboratory. People credited with this unit standard are able to comply with quality management procedures in an accredited laboratory. |
| --- | --- |

| Classification | Science > Science - Core |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Practices must also comply with the relevant parts of the Australian/New Zealand Standard NZS ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories.

4	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

5	General requirements for the competence of testing and calibration laboratories can be found at the official website International Accreditation New Zealand (IANZ) http://www.ianz.govt.nz/.

6	Glossary

Accredited laboratory refers to a laboratory accredited according to the Australian/New Zealand Standard NZS ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories.

7	Recommended for entry: Unit 8441, Describe laboratory quality systems.

Outcomes and performance criteria

Outcome 1

Comply with quality management procedures in an accredited laboratory.

Range	document control, complaints, non-conformance processes, corrective action, preventative action, control of records, test procedures, equipment requirements, sampling requirements, quality of results, recording of data.

Performance criteria

1.1	Quality management procedures are followed in accordance with the laboratory quality management system.

1.2	The relevance of each quality management procedure to the accredited laboratory is explained and is consistent with the laboratory quality management system.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Revision | 2 | 19 February 1998 | 31 December 2014 |
| Revision | 3 | 2 November 1999 | 31 December 2014 |
| Review | 4 | 22 September 2004 | 31 December 2014 |
| Review | 5 | 21 May 2010 | 31 December 2025 |
| Rollover | 6 | 27 January 2015 | 31 December 2025 |
| Review | 7 | 27 September 2018 | 31 December 2025 |
| Review | 8 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.