| Title | Describe laboratory quality systems |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 4 |

| Purpose | People credited with this unit standard are able to describe: the aims of laboratory quality systems; the management of laboratory quality systems; and the technical requirements of laboratory quality systems in accredited laboratories. |
| --- | --- |

| Classification | Science > Science - Core |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Accredited laboratory refers to a laboratory accredited according to the Australian/New Zealand Standard NZS ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories.

Outcomes and performance criteria

Outcome 1

Describe the aims of laboratory quality systems in accredited laboratories.

Performance criteria

1.1	Concepts of quality, fitness for purpose, and continuous improvement are described in laboratory quality systems.

1.2	Client expectations are described and related to the reliability of laboratory results.

Outcome 2

Describe the management of laboratory quality systems in accredited laboratories.

Range	section 4 of New Zealand Standard 17025.

Performance criteria

2.1	The management requirements of the quality system are described in relation to the accredited laboratory.

Outcome 3

Describe the technical requirements of laboratory quality systems in accredited laboratories.

Range	section 5 of New Zealand Standard 17025.

Performance criteria

3.1	The technical requirements of the quality system are described in relation to the accredited laboratory.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1996 | 31 December 2014 |
| Revision | 2 | 19 February 1998 | 31 December 2014 |
| Review | 3 | 23 November 1999 | 31 December 2014 |
| Review | 4 | 26 February 2003 | 31 December 2014 |
| Review | 5 | 21 May 2010 | 31 December 2025 |
| Rollover | 6 | 27 January 2015 | 31 December 2025 |
| Review | 7 | 27 September 2018 | 31 December 2025 |
| Review | 8 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.