| Title | Describe the purpose and application of cathodic protection in an energy and chemical plant |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | People credited with this unit standard are able to describe the purpose and application of cathodic protection in an energy and chemical plant. |
| --- | --- |

| Classification | Energy and Chemical Plant > Monitoring of Energy and Chemical Plant |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015;

- Hazardous Substances and New Organisms Act 1996;

- Resource Management Act 1991;

and any subsequent amendments.

- Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.

Holiday detection refers to non-destructive testing for locating discontinuities, pinholes, and voids in surface and pipeline coatings.

Organisational requirements – documented policies and procedures.  These may include: equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions.  This includes all regulatory and legislative obligations that apply to the plant.

Plant – the operational unit, equipment, and/or workplace at which the person is working.

- For the purposes of assessment:

- evidence of all outcomes must be presented in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe the purpose and application of cathodic protection in the energy and chemical plant.

Performance criteria

1.1	Describe cathodic protection in terms of its purpose and use.

1.2	Describe cathodic protection in terms of the reasons for the regular survey of cathodic protection systems.

1.3	Describe cathodic protection in terms of the different protection system corrosion prevention techniques available.

Range	galvanic, impressed current.

1.4	Describe the causes of corrosion in an energy and chemical plant that may require cathodic protection.

1.5	Describe the survey of a cathodic protection system by a Holiday detection monitor.

1.6	Describe cathodic protection in terms of which international cathodic protection standards are applied in an energy and chemical plant.

1.7	Describe the purpose of cathodic protection system equipment in an energy and chemical plant.

Range	impressed current rectifier, anode beds, galvanic anodes, test points, corrosion coupons, flange insulation kit.

1.8	Describe cathodic protection in terms of the typical voltage range of an operating cathodic protection system operating in an energy and chemical plant.

1.9	Describe the cathodic protection survey equipment in terms of its purpose.

Range	copper sulphate half-cell, multi-meter, data logger, cathodic protection system interruption device, direct current voltage gradient (DCVG) meter, pipe locator, flange isolation tester, current measuring swain clamps.

| Replacement information | This unit standard was replaced by skill standard 40362. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 6 February 1997 | 31 December 2018 |
| Revision | 2 | 3 August 2000 | 31 December 2018 |
| Review | 3 | 24 January 2002 | 31 December 2018 |
| Review | 4 | 20 February 2009 | 31 December 2018 |
| Rollover and Revision | 5 | 20 April 2017 | 31 December 2022 |
| Review | 6 | 27 February 2020 | 31 December 2026 |
| Review | 7 | 30 January 2025 | 31 December 2026 |

| Consent and Moderation Requirements (CMR) reference | 0079 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.